ORDINANCE NO. 	1034_

AN ORDINANCE TO PROVIDE AN EFFECTIVE MEANS FOR PROTECTING THE PUBLIC WATER SYSTEM FROM CONTAMINATION DUE TO BACKFLOW OF

CONTAMINANTS THROUGH THE WATER SERVICE CONNECTION INTO

THE PUBLIC WATER SYSTEM, AND DECLARING AN EFFECTIVE DATE.

WHEREAS, Section 6109.13 of the Ohio Revised Code requires protection of the

public water system from contamination through any connection whereby water from a private, auxiliary or emergency water system may enter the public water system; and

WHEREAS, Section 3745-95 of the Ohio Administrative Code requires protection of the public water system from contamination due to backflow of contaminants through the water service connection; and

WHEREAS, the Ohio Environmental Protection Agency requires the maintenance of a

continuing program of backflow prevention and cross-connection control which will systematically and effectively prevent the contamination of all potable water systems; and

WHEREAS, in order to accomplish these goals, it is necessary to introduce restrictions

that go beyond usual plumbing code requirements.

NOW, THEREFORE, BE IT ORDAINED by the Council of the Village of St. Henry, Ohio, County of Mercer, State of Ohio, three-fourths of all members elected thereto concurring that:

SECTION ONE

That if, in the judgment of the Village Administrator, or an authorized agent or representative thereof, an approved backflow prevention assembly is necessary for the safety of the public water system, the Village Administrator will give notice to the water consumer to install such an approved assembly immediately. The water consumer shall, at his own expense, install such an approved assembly at a location in a manner approved by the Village Administrator and shall have inspections and tests made of such approved assemblies as required by the Village Administrator.

SECTION TWO

That no person, firm or corporation shall establish or permit to be established or maintain or permit to be maintained any connection whereby a private, auxiliary or emergency water supply other than the regular public water supply of the Village of St. Henry, Ohio may enter the supply or distributing system of said municipality, unless such private, auxiliary or emergency water supply and the method of connection and use of such supply shall have been approved by the Village Administrator of the Village of St. Henry, Ohio and by the Ohio Environmental Protection Agency.

SECTION THREE

That it shall be the duty of the Village Administrator to cause surveys and investigations to be made of industrial and other properties served by the public water supply where actual or potential hazards to the public water supply may exist.  Such surveys and investigations shall be made a matter of public record and shall be repeated as often as the Village Administrator shall deem necessary.

SECTION FOUR

That the Village Administrator of the Village of St. Henry, Ohio or his/her or its duly authorized representative shall have the right to enter at any reasonable time any property served

by a connection to the public water supply or distribution system of the Village of St. Henry, Ohio for the purpose of inspecting the piping system or systems thereof.  On demand the owner,

lessees or occupants of any property so served shall furnish to the Village Administrator any information which he may request regarding the piping system or systems or water use on such properly.  The refusal of such information, when demanded, shall, within the discretion of the Village Administrator, be deemed evidence of the presence of improper connections as provided in this ordinance.

SECTION FIVE

That the Village Administrator of the Village of St. Henry, Ohio is hereby authorized and directed to discontinue, after reasonable notice to the occupant thereof, the water service to any property wherein any connection in violation of the provisions of this ordinance is known to exist, and to take such other precautionary measures as he/she may deem necessary to eliminate any danger of contamination of the public water supply distribution mains.  Water service to such property shall not be restored until such conditions shall have been eliminated or corrected in compliance with the provisions of this ordinance.

SECTION SIX

This Ordinance shall take effect and be in force from and after the earliest period allowed by law.

Passed this 	 day of 			, 2017.

_____________________________

Steven J. Koesters, Mayor

Attest:							Approved:

___________________________			_____________________________

Ruth F. Miller, Fiscal Officer				Richard M. Delzeith, Solicitor